|  |  |  |
| --- | --- | --- |
|  | Ordering Information | Date: **{{date}}**  Griin Project Name: **{{project\_name}}**  Griin Project Code: **{{project\_code}}** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Customer | **GRIIN COMPANY** |  | Starting Method | **{{start\_type}}** |
| 2 | Application | **FOR FAN** |  | Frequency Converter | **If vfd then 30Hz** |
| 3 | Rated Output | **{{power}} KW** |  | Terminal box Location | **After Contract** |
|  | Speed | **{{rpm}} R.P.M** |  | Anti Condensation Heater | **{{anti\_condensation\_heater}}** |
|  | Rated Voltage | **{{voltage}} VAC +{{voltage\_variation}}%** |  | Thermal Protection | **{{thermal\_protection}}** |
|  | Rated Frequency | **{{frequency}} Hz +{{frequency\_variation}}%** |  | PT100 & Vibration  Transmitter for Bearing | **Not included** |
| 9 | Temperature | **-{{min\_temp}}c to {{max\_temp}}c** |  | Painting/RAL | **{{painting\_ral}}** |
| 10 | Temperature rise | **Class B** |  | Additional Sensor |  |
| 11 | Insulation class | **Class F** |  | Humidity | **{{project\_humidity}}%** |
| 12 | Mounting Design (e.g. IMB3) |  |  |  |  |
| 13 | Type of Enclosure | **CAST IRON, STEEL PLATE** |  | IP | **{{ip\_rating}}** |
| 14 | Cooling Method | **{{cooling\_method}}** |  | Efficiency Classes | **{{efficiency\_class}}** |
| 15 | Duty Type | **S1** |  | Altitude Elevation | **{{altitude\_elevation}}m** |
| 16 | Load Torque Speed curve | **By Vendor** |  |  |  |
| 17 | Type of Ventilation | **By Vendor** |  |  |  |
| 18 | Connection |  |  |  |  |
| 19 | Bearing Data | **Anti-friction type** |  |  |  |
| 20 | Sound Level at 1m Distance | **< 85db** |  |  |  |
| **Notification :** | | | | | |

Check: current user

Approved: approved